Our records indicate that your organization has one or more Siemens/Wallace & Tiernan MICRO 2000 or DEOX 2000 ANALYZERS.

We recommend the following parts be kept on hand at your facility so that small, immediate repairs can be accomplished with a minimum of down time.

| 1- | G2416 | Prev Maint Kit |
| --- | --- | --- |
| 1 | CHS4017 | SS Rigid Tube |
| 2- | P34673 | Set Screw |
| 1- | P60410 | Occlusion Ring |
| 3- | P60412 | Pump Rollers |
| 1- | P60417 | Cell |
| 8- | RK634411 | Tubing (small, white) |
| 1- | U28039 | Electrolyte Gel for probe |
| 1- | U29086 | Probe Unit |
| ** | AAD2201 | Probe ** |
| 1- | U29410 | Impeller Motor 600 RPM |
| ** | AAD2426 | Impeller Motor 600 RPM ** |
| 1- | UXA29379 | Motor 1 RPM |
| ** | AAD2429 | Motor 1 RPM OR ** |
| 1- | UXB29379 | Motor 2 RPM |
| ** | AAD2432 | Motor 2 RPM ** |

** for newer style analyzers where the electronics are separate from the wetside

The most critical item to have on hand is the G2416 Preventive Maintenance Kit.  The kit contains one sample tube; two reagent tubes, a cell o-ring, an impeller shaft seal (u-cup); a grit seal; an impeller shaft; light silicone grease and the black grease.

If your organization doesn’t have the time or your personnel are not qualified to perform maintenance on these units, they may be sent in to our office and our factory certified technicians would be happy to perform the necessary repairs.

The entire instruction manual is available at our website  www.borgesmahoney.com, under the tab O&M’s, as well as other useful information and a brief description of the services our company provides.

If you need more information or we can be of further service, please feel free to contact us.